## Sheet1
Data for: | Allison Cusick (Scripps)
Data sent: | Nlovember 17, 2022
Sample type: | Seawater
Instrument: | Water equilibration device - Delta PlusXL IRMS
Analyst: | Jennifer McKay
Notes: | 1. LROSS-6 and HOT-4 as our d18O water standards that we use to calibrate the run each day. Their isotopic composition has been calibrated using the
the international standards VSMOW, GISP and SLAP.
2. Normally, one sample is repeated (same vial) free of charge per run. The repeats are highlighted in matching colours.
3. The error (standard deviation) is ±0.05 permil for d18O data.
4. These samples were analyzed using the CO2 equilibration method and Dual Inlet Isotope Ratio Mass Spectrometry.
Date Analyzed | Sample | d18O | Comments
|  | (permil, V-SMOW) |  | expected d18O | HOT-4 | -0.17 | LROSS-6 | -10.97 | Lab Seawater | No value
2022-11-14 | Seawater 5ml | -0.54526 |  | 2022-11-14 | HOT-4 | -0.18 | LROSS-6 | -10.98 | Seawater | -0.55
| LROSS-6 | -10.9812 |  |  | HOT-4 | -0.16 | LROSS-6 | -10.96
| HOT-4 | -0.18431
| LROSS-6 | -10.9615 |  | 2022-11-15 | HOT-4 | -0.19 | LROSS-6 | -10.98 | Seawater | -0.53
| WAP2 1 Nov 28 2021 | -0.53438 |  |  | HOT-4 | -0.14 | LROSS-6 | -10.96
| WAP2 2 Nov 29 2021 | -0.55119
| WAP2 3 Nov 29 2021 | -0.20606 |  | 2022-11-16 | HOT-4 | -0.15 | LROSS-6 | -10.98 | Seawater | -0.54
| WAP2 4 Dec 8 2021 | -0.73216 |  |  | HOT-4 | -0.2 | LROSS-6 | -10.96
| HOT-4 | -0.15662
| WAP2 5 Dec 16 2021 | -0.48494
| WAP2 6 Dec 17 2021 | -0.7025
2022-11-15 | Seawater 5ml | -0.53141
| 7 18 Dec 2021 | -0.37912
| 8 27 Dec 2021 | -0.43252
| 9 27 Dec 2021 | -0.4078
| 10 28 Dec 2021 | -0.092338
| LROSS-6 | -10.9763
| 11 29 Dec 2021 | -0.58086
| 12 09 Jan 2022 | -0.5502
| HOT-4 | -0.18826
| 13 22 Jan 2022 | -0.23079
| 14 25 Jan 2022 | -0.069593
| LROSS-6 | -10.9585
| 15 10 Feb 2022 | 0.26763
| 16 20 Feb 2022 | -1.0486
| 17 22 Feb 2022 | -0.81919
| 18 24 Feb 2022 | -0.4167
| 19 8 Mar 2022 | -1.2138
| 20 11 Mar 2022 | -0.96851
| 21 13 Mar 2022 | -0.94873
| 22 13 Mar 2022 | -0.92006
| 23 14 Mar 2022 | -0.68964
| 24 14 Mar 2022 | -1.1099
| 8 27 Dec 2021 rpt | -0.41868
| HOT-4 | -0.14376 | Value a bit too heavy for my liking.
2022-11-16 | Seawater 5ml | -0.53537
| 25 15 Mar 2022 | -0.63624
| 26 (cannot read label) | -0.52251
| 27 16 Mar 2022 | -0.44241
| 28 16 Mar 2022 | -0.56504
| 29 22 Mar 2022 | -0.57394
| HOT-4 | -0.14969
| 30 23 Mar 2022 | -0.47109
| LROSS-6 | -10.9802
| HOT-4 | -0.2031
| LROSS-6 | -10.9585