## Sheet1
Data for: | Allison Cusick (Scripps)
Data sent: | April 18, 2022
Sample type: | Seawater
Instrument: | Water equilibration device - Delta PlusXL IRMS
Analyst: | Jennifer McKay
Notes: | 1. LROSS-6 and HOT-4 as our d18O water standards that we use to calibrate the run each day. Their isotopic composition has been calibrated using the
the international standards VSMOW, GISP and SLAP.
2. Normally, one sample is repeated (same vial) free of charge per run. The repeats are highlighted in matching colours.
3. The error (standard deviation) is ±0.05 permil for d18O data.
4. These samples were analyzed using the CO2 equilibration method and Dual Inlet Isotope Ratio Mass Spectrometry.
Date Analyzed | Sample | d18O | Comments
|  | (permil, V-SMOW) |  | expected d18O | HOT-4 | -0.17 | LROSS-6 | -10.97 | Lab Seawater | No value
2022-04-14 | Seawater | -0.53141 |  | 2022-04-14 | HOT-4 | -0.15 | LROSS-6 | -10.93 | Seawater | -0.53
| 1 | 0.056988 |  |  | HOT-4 | -0.19 | LROSS-6 | -10.99
| 2 | -0.058714
| 3 | -0.24661 |  | 2022-04-15 | HOT-4 | -0.17 | LROSS-6 | -10.97 | Seawater | -0.5
| 4 | -0.37813 |  |  | HOT-4 | -0.16 | LROSS-6 | -10.96
| HOT-4 | -0.15167
| 5 | -0.45823 |  | 2022-04-16 | HOT-4 | -0.15 | LROSS-6 | -10.97 | Seawater | -0.52
| LROSS-6 | -10.9268 |  |  | HOT-4 | -0.2 | LROSS-6 | -10.97
| 6 | -0.79644
| 7 | -1.3918 |  | 2022-04-17 | HOT-4 | -0.16 | LROSS-6 | -10.98 | Seawater | -0.52
| 8 | -4.9073 |  |  | HOT-4 | -0.17 | LROSS-6 | -10.95
| 9 | -2.6734
| 10 | -3.4546
| HOT-4 | -0.1942
| 11 | -6.5499
| 12 | 0.071822
| 13 | 0.090611
| 14 | -2.1522
| LROSS-6 | -10.9911
| 15 | -2.8188
| 16 | -5.7242
| 17 | -2.437
| 18 | -3.2035
| 7 rpt | -1.3809
2022-04-15 | Seawater | -0.49581
| 19 | -6.7952
| 20 | 0.059955
| 21 | -2.4806
| LROSS-6 | -10.9743
| 22 | -3.2509
| 23 | -6.187
| 24 | -15.8793
| 25 | -15.8991
| 26 | -2.2175
| HOT-4 | -0.16848
| 27 | -2.6042
| 28 | -6.6607
| 29 | -2.1948
| 30 | -2.3668
| 31 | -5.3939
| 32 | 0.035232
| 33 | -0.15266
| 34 | -0.3099
| HOT-4 | -0.16156
| 35 | -1.0219
| LROSS-6 | -10.9585
| 36 | -1.638
| 33 rpt | -0.12893
2022-04-16 | Seawater | -0.51955
| 37 | -2.0168
| 38 | -2.1335
| 39 | -2.8277
| 40 | -2.8474
| 41 | -19.0735
| HOT-4 | -0.15266
| 42 | -19.0686
| 43 | -2.4895
| 44 | -4.7996
| LROSS-6 | -10.9723
| 45 | -0.43846
| 46 | -0.96653
| 47 | -1.4293
| 48 | -3.514
| HOT-4 | -0.19716
| 49 | -2.5864
| 50 | -2.4351
| 51 | -2.6536
| 52 | -2.6141
| LROSS-6 | -10.9723
| 53 | -0.77666
| 30 rpt | -2.354 | Previous value -2.37
| 42 rpt | -19.0933
2022-04-17 | Seawater | -0.51658
| 54 | -0.44439
| 55 | -0.89237
| LROSS-6 | -10.9783
| 56 | -0.49977
| 57 | -1.7201
| 58 | -0.78458
| HOT-4 | -0.16354
| 59 | -0.34352
| 60 | -0.66788
| 61 | -0.40286
| 62 | -0.32869
| 63 | -0.54526
| 64 | -0.44142
| LROSS-6 | -10.9506
| 65 | -0.46713
| 66 | -0.35143
| 67 | -0.5769
| HOT-4 | -0.17244
| 68 | -0.46318
| 69 | -0.36231
| 70 | -0.32671
| 31 rpt | -5.3781 | Previous value -5.39
| 66 rpt | -0.29408